## Slide 1: Chapter 3
Data Analyses

## Slide 2: Number of Meters Installed vs Number of Surveys Conducted
Shows that there are more meters than surveys.
Not sure how many businesses there are.
Reason why filtering is needed to differentiate between business and residential buildings.

## Slide 3: Businesses vs. Households After Filtering
Filtering Test Conditions
Results after filtering
Filtering Tests designed using figure below

## Slide 4: Chapter 4
Methods

## Slide 5: Modelling Load Profiles Shape: Flow Diagram

## Slide 6: Creating Model: Load Profiles with symmetric peaks
Starting with profile with symmetric peaks:
Amplitude = Ah at ToP
Mean = ToP
= (initial guess)
  range rule of standard deviation
Chebyshev’s rule and the Empirical rule.
Leads to assumption that:
<

## Slide 7: Creating Model: Load Profiles with Asymmetric Peaks
The four gauss model for describing a profiles shape.

## Slide 8: Modelling the Amplitude Variation: Flow Diagram

## Slide 9: Describing Amplitudes with Probabilistic Distributions
Load profiles in a seasonal and day-type subset
Distribution of profiles peak amplitudes
Select distribution that describes the peaks using Chi-squared.

## Slide 10: PV System Design
Inverter Selection
Panel Selection
Sub-array Design

## Slide 11: Chapter 5
Results

## Slide 12: Simulating Profile Shape:Gaussian Curve Fit
Example of how the synthetic profiles mean is described using gaussians.

## Slide 13: Simulating Profile Shape
Figure show the synthetic mean profile consisting out of 4 gaussians and a straight line approximation.
Before
After
Can give examples in the thesis of synthetic profiles which described the actual well and ones that performed poorly

## Slide 14: Synthetic Mean Profile: Hourly Error Boxplot
Boxplot with the absolute and percentage error per hour for all profiles per season

## Slide 15: Q-Q Plots: Daily Peaks
If the two distributions being compared are identical, the Q–Q plot follows the 45° line y = x.

## Slide 16: Q-Q Plots: Total Daily Consumption

## Slide 17: Q-Q Plots: Aggregate Consumption

## Slide 18: Synthetic Mean Profiles(Boxplots): Percentage Error
Percentage error between the synthetic(predicted) mean profile and the actual mean profile binned according to users average monthly consumption.
S

## Slide 19: Synthetic Profiles: Daily Peaks (Histograms)
Check if synthetic profiles daily peaks match the measured profiles peaks.
Histogram of all daily peaks for all users.

## Slide 20: Synthetic Profiles: Daily Peaks (Boxplots)
Boxplots of daily peaks for all profiles of all users.
Table with the percentage difference between quantiles.
Largest difference at 25th quantile.
Model struggles to simulate low energy users.

## Slide 21: Synthetic Profiles: Daily Consumption(Histograms)
Distributions of the total daily consumption of the Actual and Synthetic Profiles

## Slide 22: Synthetic Profiles: Aggregate Consumption(Histograms)
Distribution o the total consumption per season for the Actual and Synthetic Profiles

## Slide 23: Synthetic Profiles: Grid Level Consumption(Histograms)

## Slide 24: PV Results
Chart: Min & Max Instantaneous Power
| January | February | March | April | May | June | July | August | September | October | November | December
Synthetic Max | 5.94 | 9.53 | 6.72 | 8.7 | 6.43 | 8.07 | 6.32 | 7.72 | 9.04 | 6.36 | 7.17 | 5.83
Actual Max | 5.85 | 6.48 | 5.52 | 6.13 | 6.02 | 6.65 | 6.77 | 5.7 | 5.04 | 6.2 | 7.38 | 6.3
Synthetic Min | 0.36 | 0.36 | 0.36 | 0.36 | 0.36 | 0.26 | 0.26 | 0.26 | 0.36 | 0.36 | 0.36 | 0.36
Actual Min | 0.21 | 0.27 | 0.24 | 0.23 | 0.2 | 0.21 | 0.18 | 0.2 | 0.21 | 0.21 | 0.22 | 0.27

## Slide 25: PV Results: Synthetic vs. Actual Hourly Data
Chart: January Load (Hourly)
Chart: February Load (Hourly)
Chart: March Load (Hourly)
Chart: April Load (Hourly)
Chart: May Load (Hourly)
Chart: June Load (Hourly)
Chart: July Load (Hourly)
Chart: August Load (Hourly)
Chart: September Load (Hourly)
Chart: October Load (Hourly)
Chart: November Load (Hourly)
Chart: December Load (Hourly)

## Slide 26: PV Results: 1st of every month
Chart: April - Day 1
Measured | 0.31353 | 0.40741 | 0.26264 | 0.39242 | 0.25127 | 0.73872 | 0.35324 | 1.1342 | 0.37868 | 2.7449 | 3.5978 | 0.7347 | 0.50165 | 0.44925 | 0.34918 | 0.28363 | 1.5672 | 2.4558 | 0.66909 | 0.76577 | 0.63574 | 3.0828 | 2.5433 | 0.40654
Synthetic | 0.36 | 0.36 | 0.36 | 0.36 | 0.38 | 0.45 | 0.68 | 1.15 | 1.74 | 2.02 | 1.95 | 1.75 | 1.47 | 0.47 | 0.9 | 1.99 | 3.54 | 4.33 | 4.09 | 3.46 | 2.65 | 1.85 | 1.22 | 0.8
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.23 | 0.53 | 0.44 | 0.75 | 0.78 | 0.73 | 0.63 | 0.5 | 0.31 | 0.08 | 0 | 0 | 0 | 0 | 0
Chart: January - Day 1
Measured | 0.37147 | 0.27748 | 0.42266 | 0.3993 | 0.30862 | 0.31958 | 0.63762 | 0.88964 | 0.86503 | 1.1641 | 2.3239 | 1.5932 | 0.79547 | 1.9737 | 1.2625 | 0.64856 | 2.8613 | 5.8522 | 2.4827 | 2.9262 | 2.9261 | 0.9371 | 1.077 | 0.47351
Synthetic | 0.36 | 0.36 | 0.37 | 0.38 | 0.42 | 0.59 | 0.98 | 1.65 | 2.36 | 2.67 | 2.43 | 1.83 | 1.2 | 0.42 | 0.69 | 1.57 | 3.02 | 3.82 | 3.34 | 2.25 | 1.25 | 0.67 | 0.44 | 0.38
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.31 | 0.42 | 0.26 | 0.19 | 0.44 | 0.49 | 0.26 | 0.63 | 0.59 | 0.41 | 0.21 | 0.04 | 0 | 0 | 0 | 0
Chart: February - Day 1
Measured | 0.59737 | 0.5796 | 0.54441 | 0.5933 | 0.5911 | 0.46608 | 0.45182 | 0.88686 | 2.8023 | 4.3987 | 3.6396 | 2.596 | 2.7951 | 1.4214 | 0.74397 | 0.76812 | 0.84918 | 1.6441 | 2.1406 | 2.6439 | 2.9912 | 3.5817 | 0.37666 | 0.57354
Synthetic | 0.36 | 0.36 | 0.36 | 0.36 | 0.38 | 0.48 | 0.8 | 1.45 | 2.26 | 2.64 | 2.54 | 2.27 | 1.88 | 0.47 | 0.89 | 1.98 | 3.51 | 4.3 | 4.07 | 3.44 | 2.63 | 1.84 | 1.21 | 0.8
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.26 | 0.47 | 0.62 | 0.74 | 0.81 | 0.83 | 0.8 | 0.73 | 0.61 | 0.44 | 0.23 | 0.04 | 0 | 0 | 0 | 0
Chart: March - Day 1
Measured | 2.0408 | 0.50468 | 1.7257 | 0.50311 | 0.50809 | 0.27017 | 0.45164 | 2.8063 | 3.3358 | 0.84546 | 0.75733 | 1.8621 | 0.93813 | 0.51683 | 0.52476 | 0.6656 | 1.6132 | 4.9448 | 2.7891 | 1.924 | 2.67 | 1.8423 | 0.71883 | 0.51399
Synthetic | 0.36 | 0.36 | 0.36 | 0.37 | 0.4 | 0.57 | 1.13 | 2.3 | 3.72 | 4.4 | 4.23 | 3.74 | 3.06 | 0.47 | 0.89 | 1.98 | 3.51 | 4.29 | 4.06 | 3.44 | 2.63 | 1.84 | 1.21 | 0.79
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.02 | 0.19 | 0.44 | 0.61 | 0.73 | 0.8 | 0.82 | 0.62 | 0.6 | 0.59 | 0.4 | 0.18 | 0 | 0 | 0 | 0 | 0
Chart: May - Day 1
Measured | 0.24031 | 0.27995 | 0.28961 | 0.20692 | 0.29461 | 0.21883 | 0.32643 | 0.61805 | 0.35292 | 0.38145 | 0.41779 | 1.261 | 0.82451 | 0.52896 | 0.64065 | 0.51047 | 0.95791 | 5.2668 | 3.5586 | 4.8684 | 2.1415 | 0.75317 | 0.41714 | 0.34536
Synthetic | 0.36 | 0.36 | 0.37 | 0.38 | 0.46 | 0.73 | 1.38 | 2.47 | 3.64 | 4.15 | 3.75 | 2.78 | 1.74 | 0.42 | 0.69 | 1.57 | 3.03 | 3.83 | 3.34 | 2.26 | 1.25 | 0.67 | 0.44 | 0.38
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12 | 0.21 | 0.49 | 0.63 | 0.68 | 0.64 | 0.66 | 0.56 | 0.41 | 0.19 | 0 | 0 | 0 | 0 | 0 | 0
Chart: June - Day 1
Measured | 0.30209 | 0.27234 | 0.26814 | 0.25733 | 0.44323 | 0.29041 | 0.44898 | 0.2663 | 0.58832 | 0.58596 | 1.9639 | 2.5328 | 0.5027 | 0.61308 | 0.38257 | 1.2096 | 4.2359 | 2.0023 | 1.6168 | 2.1403 | 1.256 | 2.8908 | 0.81813 | 0.29902
Synthetic | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.94 | 3.28 | 2.93 | 2.1 | 1.25 | 0.97 | 0.7 | 0.42 | 0.92 | 2.13 | 3.77 | 4.59 | 4.28 | 3.48 | 2.48 | 1.59 | 0.95 | 0.57
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.04 | 0.03 | 0.03 | 0.09 | 0.03 | 0.02 | 0.23 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0
Chart: July - Day 1
Measured | 0.24687 | 0.2706 | 0.24047 | 0.20271 | 0.21141 | 0.20965 | 0.26023 | 3.8789 | 1.5845 | 1.0466 | 1.525 | 1.2712 | 2.5874 | 1.1895 | 0.23134 | 0.58382 | 2.9811 | 1.2249 | 3.068 | 1.1761 | 1.2284 | 1.2344 | 0.44125 | 0.23581
Synthetic | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.73 | 2.35 | 2.11 | 1.54 | 0.95 | 0.77 | 0.6 | 0.42 | 0.92 | 2.13 | 3.78 | 4.6 | 4.29 | 3.49 | 2.49 | 1.59 | 0.95 | 0.57
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.09 | 0.23 | 0.23 | 0.14 | 0.26 | 0.27 | 0.13 | 0.1 | 0.08 | 0 | 0 | 0 | 0 | 0 | 0
Chart: August - Day 1
Measured | 0.27671 | 0.25404 | 0.31615 | 0.23809 | 0.25729 | 0.32231 | 0.23933 | 0.5323 | 0.70829 | 0.564 | 1.4376 | 3.9341 | 3.1878 | 0.91532 | 1.4981 | 1.3006 | 3.5549 | 3.6925 | 2.0309 | 1.5674 | 1.4401 | 0.5009 | 0.28928 | 0.26274
Synthetic | 0.27 | 0.27 | 0.27 | 0.27 | 0.27 | 0.28 | 0.76 | 2.48 | 2.22 | 1.61 | 0.99 | 0.8 | 0.61 | 0.42 | 0.92 | 2.13 | 3.77 | 4.6 | 4.29 | 3.48 | 2.49 | 1.59 | 0.95 | 0.57
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.28 | 0.46 | 0.58 | 0.65 | 0.67 | 0.63 | 0.55 | 0.38 | 0.18 | 0 | 0 | 0 | 0 | 0 | 0
Chart: September - Day 1
Measured | 0.29637 | 0.28323 | 0.32693 | 0.28882 | 0.30636 | 0.26849 | 0.51769 | 0.64479 | 2.9044 | 2.7027 | 1.3688 | 2.1861 | 2.9855 | 0.97842 | 0.51957 | 0.55698 | 3.6078 | 1.3696 | 1.9622 | 2.1529 | 1.867 | 1.3747 | 0.40306 | 0.29122
Synthetic | 0.36 | 0.36 | 0.36 | 0.37 | 0.4 | 0.58 | 1.15 | 2.33 | 3.79 | 4.48 | 4.3 | 3.8 | 3.11 | 0.47 | 0.89 | 1.98 | 3.51 | 4.29 | 4.06 | 3.44 | 2.62 | 1.84 | 1.21 | 0.79
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.06 | 0.18 | 0.43 | 0.54 | 0.5 | 0.29 | 0.22 | 0.12 | 0.2 | 0.18 | 0.01 | 0 | 0 | 0 | 0 | 0
Chart: October - Day 1
Measured | 0.2594 | 0.25097 | 0.27184 | 0.21804 | 0.27535 | 0.2204 | 0.25708 | 0.92439 | 0.47056 | 1.1882 | 0.90302 | 0.49762 | 2.2552 | 0.4895 | 0.38973 | 1.5419 | 5.2101 | 6.2043 | 3.0631 | 1.7477 | 1.9074 | 1.9552 | 1.0894 | 0.23943
Synthetic | 0.36 | 0.36 | 0.37 | 0.38 | 0.45 | 0.67 | 1.21 | 2.13 | 3.11 | 3.54 | 3.2 | 2.39 | 1.52 | 0.42 | 0.69 | 1.57 | 3.02 | 3.82 | 3.34 | 2.25 | 1.25 | 0.67 | 0.44 | 0.38
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.05 | 0.27 | 0.49 | 0.64 | 0.74 | 0.78 | 0.77 | 0.71 | 0.63 | 0.48 | 0.28 | 0.07 | 0 | 0 | 0 | 0 | 0
Chart: November - Day 1
Measured | 0.37394 | 0.31512 | 0.38966 | 0.39014 | 0.2939 | 0.35512 | 0.88161 | 0.46111 | 0.79225 | 0.77295 | 0.8566 | 0.40058 | 1.3651 | 1.3743 | 1.2577 | 0.36436 | 3.7709 | 2.9553 | 0.77543 | 3.488 | 1.6028 | 3.9637 | 3.5313 | 1.2815
Synthetic | 0.36 | 0.36 | 0.36 | 0.36 | 0.38 | 0.46 | 0.73 | 1.29 | 1.98 | 2.31 | 2.22 | 1.99 | 1.66 | 0.47 | 0.9 | 2 | 3.55 | 4.35 | 4.11 | 3.48 | 2.66 | 1.86 | 1.22 | 0.8
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.07 | 0.08 | 0.05 | 0.1 | 0.21 | 0.16 | 0.44 | 0.36 | 0.13 | 0.3 | 0.09 | 0.09 | 0 | 0 | 0 | 0 | 0
Chart: December - Day 1
Measured | 0.5318 | 0.50381 | 0.53805 | 0.48921 | 0.52545 | 0.47754 | 0.68803 | 1.3587 | 1.7046 | 2.703 | 1.1557 | 0.78859 | 0.78296 | 2.1444 | 2.1566 | 0.97618 | 0.9342 | 0.83444 | 4.0079 | 4.6974 | 4.7404 | 4.1034 | 2.42 | 1.0393
Synthetic | 0.36 | 0.36 | 0.36 | 0.37 | 0.4 | 0.57 | 1.12 | 2.26 | 3.66 | 4.33 | 4.16 | 3.68 | 3.01 | 0.47 | 0.89 | 1.98 | 3.52 | 4.31 | 4.07 | 3.45 | 2.63 | 1.84 | 1.21 | 0.8
System power generated ¦ (kW) | 0 | 0 | 0 | 0 | 0 | 0 | 0.01 | 0.1 | 0.28 | 0.44 | 0.5 | 0.65 | 0.55 | 0.7 | 0.69 | 0.69 | 0.56 | 0.37 | 0.16 | 0.02 | 0 | 0 | 0 | 0
PV Results: First day of month

## Slide 27: PV Results: Average Daily Profile
Chart: January - Average
Synthetic | 0.36 | 0.36 | 0.36323 | 0.36806 | 0.40258 | 0.54 | 0.93226 | 1.6868 | 2.5687 | 2.9797 | 2.8055 | 2.3619 | 1.8213 | 0.45387 | 0.82742 | 1.8484 | 3.3565 | 4.1468 | 3.8294 | 3.0603 | 2.1861 | 1.4626 | 0.96323 | 0.65767
Actual | 0.51774 | 0.4515 | 0.50062 | 0.46112 | 0.43507 | 0.44999 | 0.58496 | 1.0432 | 1.1815 | 2.091 | 1.8719 | 2.2644 | 1.6196 | 1.436 | 1.4395 | 1.4834 | 2.8898 | 3.2063 | 2.4639 | 1.8251 | 2.1715 | 1.8622 | 1.2335 | 0.62481
Chart: March - Average
Synthetic | 0.36 | 0.36 | 0.36258 | 0.36742 | 0.4 | 0.53871 | 0.94355 | 1.7394 | 2.681 | 3.1226 | 2.9552 | 2.521 | 1.9781 | 0.4571 | 0.84161 | 1.8765 | 3.391 | 4.179 | 3.8813 | 3.141 | 2.2771 | 1.54 | 1.0145 | 0.68968
Actual | 0.62756 | 0.4348 | 0.59633 | 0.4397 | 0.39418 | 0.37025 | 0.61119 | 1.5075 | 1.9872 | 1.8681 | 1.4622 | 1.9334 | 1.3098 | 1.2206 | 1.0349 | 1.1466 | 2.3342 | 2.8038 | 2.6151 | 1.6958 | 1.801 | 1.5783 | 0.78687 | 0.55881
Chart: April - Average
Synthetic | 0.36 | 0.36 | 0.363 | 0.36833 | 0.40767 | 0.569 | 1.0453 | 1.9797 | 3.087 | 3.6053 | 3.4097 | 2.9017 | 2.2633 | 0.45533 | 0.83267 | 1.8573 | 3.366 | 4.1553 | 3.847 | 3.0863 | 2.2177 | 1.4893 | 0.98167 | 0.66967
Actual | 0.3933 | 0.32311 | 0.31105 | 0.30087 | 0.31634 | 0.45882 | 0.58476 | 0.77652 | 1.0483 | 1.7377 | 1.9849 | 1.4637 | 1.6125 | 1.2407 | 0.77402 | 0.88208 | 2.6403 | 3.1005 | 2.6368 | 1.7305 | 1.8224 | 1.9649 | 0.96397 | 0.56873
Chart: May - Average
Synthetic | 0.36 | 0.36 | 0.3629 | 0.36839 | 0.40323 | 0.5471 | 0.96548 | 1.7832 | 2.7468 | 3.1968 | 3.0194 | 2.5629 | 1.9955 | 0.45548 | 0.83516 | 1.8632 | 3.3752 | 4.1648 | 3.8565 | 3.1026 | 2.2326 | 1.5016 | 0.98871 | 0.67645
Actual | 0.3704 | 0.37006 | 0.31684 | 0.30034 | 0.28305 | 0.36864 | 0.39423 | 1.047 | 1.7228 | 2.4969 | 2.0726 | 2.6983 | 2.7787 | 1.7813 | 1.1199 | 1.8963 | 1.8097 | 2.9613 | 3.0307 | 2.7348 | 1.9347 | 1.3016 | 0.93495 | 0.529
Chart: June - Average
Synthetic | 0.26733 | 0.26733 | 0.26733 | 0.26733 | 0.26733 | 0.28367 | 0.81367 | 2.7053 | 2.7757 | 2.3583 | 1.4307 | 0.87433 | 0.587 | 0.47533 | 0.931 | 1.9817 | 3.3863 | 4.1603 | 4.0017 | 3.264 | 2.231 | 1.353 | 0.79 | 0.49267
Actual | 0.31746 | 0.30078 | 0.28622 | 0.29006 | 0.34475 | 0.31964 | 0.81724 | 1.4859 | 1.8394 | 1.8018 | 2.0703 | 2.7154 | 1.8549 | 1.4213 | 1.0824 | 1.5149 | 3.3822 | 3.3466 | 2.4824 | 2.3039 | 2.1375 | 1.8658 | 0.81767 | 0.36806
Chart: July - Average
Synthetic | 0.26677 | 0.26677 | 0.26677 | 0.26677 | 0.26677 | 0.28419 | 0.83677 | 2.8135 | 2.9461 | 2.5529 | 1.5435 | 0.90258 | 0.58935 | 0.48677 | 0.93355 | 1.9513 | 3.3055 | 4.0706 | 3.9442 | 3.2184 | 2.1781 | 1.3039 | 0.7571 | 0.47645
Actual | 0.39673 | 0.26142 | 0.26196 | 0.29071 | 0.24088 | 0.25662 | 0.31636 | 1.6417 | 1.7352 | 1.5083 | 1.1474 | 1.3583 | 1.9318 | 1.5388 | 0.8083 | 1.5591 | 3.6935 | 3.9368 | 2.7006 | 1.6385 | 1.4776 | 1.3796 | 0.60242 | 0.53736
Chart: August - Average
Synthetic | 0.49516 | 0.26742 | 0.26742 | 0.26742 | 0.26742 | 0.26742 | 0.28387 | 0.8629 | 2.9297 | 2.9626 | 2.4755 | 1.491 | 0.92226 | 0.61194 | 0.47387 | 0.93065 | 1.9871 | 3.401 | 4.1774 | 4.0142 | 3.2719 | 2.2413 | 1.3613 | 0.79581
Actual | 0.52894 | 0.28065 | 0.30737 | 0.27076 | 0.29065 | 0.24425 | 0.26837 | 0.27048 | 0.90366 | 1.5453 | 1.5827 | 1.4491 | 2.0637 | 1.9235 | 1.0978 | 0.96103 | 0.93195 | 3.242 | 3.5376 | 3.2438 | 2.2046 | 1.9279 | 1.6193 | 0.95248
Chart: September - Average
Synthetic | 0.36 | 0.36 | 0.36267 | 0.36667 | 0.40133 | 0.54633 | 0.98133 | 1.8377 | 2.8583 | 3.337 | 3.1627 | 2.7093 | 2.136 | 0.45667 | 0.838 | 1.869 | 3.3797 | 4.167 | 3.866 | 3.1227 | 2.26 | 1.5257 | 1.0057 | 0.684
Actual | 0.30638 | 0.28487 | 0.28449 | 0.31266 | 0.28185 | 0.26007 | 0.37631 | 0.59466 | 1.3986 | 1.2074 | 0.91774 | 1.4101 | 1.7632 | 0.96039 | 0.66276 | 0.67223 | 3.2305 | 3.3635 | 2.8353 | 2.3552 | 1.5982 | 1.5103 | 0.57686 | 0.36021
Chart: October - Average
Synthetic | 0.36 | 0.36 | 0.36323 | 0.36839 | 0.40419 | 0.54581 | 0.95839 | 1.7616 | 2.7074 | 3.1494 | 2.9742 | 2.5223 | 1.9623 | 0.45387 | 0.8271 | 1.8471 | 3.3526 | 4.1397 | 3.8265 | 3.0565 | 2.1835 | 1.461 | 0.9629 | 0.66065
Actual | 0.30588 | 0.35617 | 0.29346 | 0.26618 | 0.27339 | 0.32602 | 0.44853 | 0.72078 | 0.92125 | 1.5058 | 1.6612 | 1.8238 | 1.5178 | 0.88861 | 0.82655 | 1.2714 | 3.5977 | 3.4723 | 2.6678 | 1.9166 | 2.1279 | 1.661 | 0.8119 | 0.46634
Chart: November - Average
Synthetic | 0.36 | 0.36 | 0.36267 | 0.36767 | 0.40333 | 0.54467 | 0.97 | 1.807 | 2.797 | 3.262 | 3.0883 | 2.6377 | 2.0707 | 0.45667 | 0.839 | 1.8707 | 3.3833 | 4.1723 | 3.8693 | 3.1257 | 2.2627 | 1.5273 | 1.0067 | 0.684
Actual | 0.36958 | 0.43449 | 0.36508 | 0.35482 | 0.31659 | 0.32548 | 0.60882 | 0.90623 | 1.4243 | 1.4405 | 1.6574 | 1.6937 | 1.7891 | 1.1004 | 0.81622 | 0.99169 | 3.4599 | 3.6864 | 2.2119 | 2.1902 | 1.617 | 1.1682 | 0.8823 | 0.43635
Chart: December - Average
Synthetic | 0.36 | 0.36 | 0.3629 | 0.36935 | 0.40548 | 0.56129 | 1.0177 | 1.9139 | 2.9729 | 3.47 | 3.2816 | 2.7926 | 2.18 | 0.45548 | 0.83516 | 1.8619 | 3.3706 | 4.1594 | 3.8526 | 3.0974 | 2.2303 | 1.4994 | 0.98871 | 0.67514
Actual | 0.47425 | 0.48808 | 0.4872 | 0.50462 | 0.46666 | 0.54303 | 0.93861 | 1.7833 | 2.4013 | 2.3241 | 2.2426 | 1.7612 | 1.6172 | 1.4891 | 2.326 | 1.9037 | 1.9257 | 3.6811 | 4.1419 | 4.33 | 3.0842 | 3.2004 | 1.8535 | 0.93266
Chart: February - Average
Synthetic | 0.36 | 0.36 | 0.36286 | 0.36714 | 0.40286 | 0.55179 | 0.99214 | 1.8607 | 2.8907 | 3.3743 | 3.195 | 2.7307 | 2.1439 | 0.45571 | 0.83679 | 1.8664 | 3.3789 | 4.17 | 3.8639 | 3.1089 | 2.2411 | 1.5086 | 0.99286 | 0.67821
Actual | 0.59021 | 0.56569 | 0.50777 | 0.62904 | 0.49076 | 0.55421 | 1.0049 | 1.2274 | 1.6718 | 1.6639 | 1.4409 | 1.1905 | 1.2271 | 1.2351 | 1.1465 | 0.97105 | 1.2288 | 1.7078 | 2.4335 | 3.0051 | 1.991 | 2.4909 | 1.4801 | 0.67215

## Slide 28: PV Results: Synthetic Load vs Utilized
Chart: Synthetic Load + Utilized

## Slide 29: PV Results: PV System Power Generated
Chart: System Power Generated

## Slide 30: PV Results: Percentage Utilized
Sort PV results according to a users years electrified.
Assumption:
  Years electrified > 15 years, energy usage becomes more stable.
  Years electrified < 15 years, energy use unpredictable.

## Slide 31: PV Results: Percentage Exported Difference
Figure shows the difference between the percentage exported for the measured and synthetic data when using the same PV system